{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["所仪器列表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"所仪器列表","index":0,"n_rows":43,"n_cols":5,"rows_kept":43,"flags":["formulas_cached_only"]}
["设备名称","设备型号","所属研究组","仪器操作员联系方式","分析项目说明"]
["超导核磁共振仪","AVANCE500","所：分析测试中心核磁组","史丽萍：021-54925039，yyh@mail.sioc.ac.cn","1H、19H、31P、13C、DEPT 135、DEPT 90、1H－1H、1C－1H "]
["超导核磁共振仪","DPX-400","所：分析测试中心核磁组","夏薇：021-54925038，yyh@mail.sioc.ac.cn","可测1H, 13C, 15N等多种核."]
["超导核磁共振仪","MR400","所：分析测试中心核磁组","步时征：021-54925038，yyh@mail.sioc.ac.cn","可测1H, 13C, 31P,19F等多种核."]
["付里叶变换质谱仪","FTMS-7","所：分析测试中心质谱组","朱逢君:021-54925349，joakeezfj@yahoo.com.cn","ESI高分辨"]
["付里叶变换质谱仪","IonSpec 4.7T","所：分析测试中心质谱组","华勤:021-54925349,huaqin@mail.sioc.ac.cn","MALDI高分辨"]
["三重四极杆液相色谱-质谱联用仪","TSQ-40000","组：郭寅龙课题组","张菁:021-54925314，zhangjing@mail.sioc.ac.cn","ESI MS/MS，APCI MS/MS"]
["三重四极杆液相色谱-质谱联用仪","Agilent 6410","组：郭寅龙课题组","张立:021-54925314，zhangli7488@mail.sioc.ac.cn","ESI MS/MS，APCI MS/MS"]
["多级离子阱质谱仪","LCQAD-60000","组：郭寅龙课题组","张立:021-54925314，zhangli7488@mail.sioc.ac.cn","ESI MS/MS"]
["高分辨气相色谱-质谱联用仪","Premier CAB088","所：分析测试中心质谱组","李光平:021-54925304，orge_li@yahoo.com.cn","气相-高分辨质谱"]
["高分辨飞行时间气相色谱-质谱联用仪","Waters GCT Premier","所：分析测试中心质谱组","耿昱:021-54925304，gengyu@mail.sioc.ac.cn","气相-高分辨质谱"]
["气相色谱-质谱联用仪(GC-MS)","Agilent7890A/5973N","所：分析测试中心质谱组","秦红玲:021-54925304，qinxiaoyan0210@yahoo.com.cn","GC-MS"]
["液相色谱-质谱联用仪(LC-MS)","1100 LCMSD SL","所：分析测试中心质谱组","龙莉:021-54925345，longli@mail.sioc.ac.cn","HPLC-MS"]
["基质辅助激光解离飞行时间质谱仪","Voyager-DE STR","所：分析测试中心质谱组","王志蓓:021-54925345，lillywab@hotmail.com","MALDI-MS"]
["低分辨质谱仪","5973N","所：分析测试中心质谱组","朱逢君:021-54925304，joakeezfj@yahoo.com.cn","EI-MS"]
["全自动元素分析仪","VARIO EL III","所：分析测试中心元素组","张剑锋:021-54925105，jfzhang@mail.sioc.ac.cn","样品用量约10mg，含量范围0.30％～100％，样品状态为固或液态，收费300元/样品。"]
["全自动元素分析仪","VARIO EL","所：分析测试中心元素组","戴俪婧:021-54925105，dailj@mail.sioc.ac.cn","样品用量约10mg，含量范围0.30％～100％，样品状态为固或液态，收费300元/样品。"]
["全自动元素分析仪","VARIO EL III","所：分析测试中心元素组","戴钰婷:021-54925315，daiyt@mail.sioc.ac.cn","样品用量约10mg，含量范围0.30％～100％，样品状态为固或液态，收费300元/样品。"]
["原子吸收光谱仪","AA-220","所：分析测试中心元素组","薛长发:021-54925315，dailj@mail.sioc.ac.cn","样品用量约0.1～2g（视元素含量而定），含量范围0.0001％～1％，样品状态为固或液态，收费300元/元素。"]
["电感耦合等离子体原子发射光谱仪","PRODIGY","所：分析测试中心元素组","戴钰婷:021-54925315，daiyt@mail.sioc.ac.cn","样品用量约0.1～2g（视元素含量而定），含量范围0.0001％～5％，样品状态为固或液态，收费定量300元/元素，定性500元/样品。"]
["付里叶变换红外光谱仪","Bio-Rad FTS-185","所：分析测试中心光谱组","陈蔚红:021-54925384，ft-ir@mail.sioc.ac.cn","红外光谱测试100元/个，显微红外测试500元/点，ATR及掠角反射测试300元/个，化合物主成分定性500元起价，具体面仪。"]
["付里叶变换红外光谱仪","Nicolet AV-360","所：分析测试中心光谱组","陈蔚红:021-54925384，ft-ir@mail.sioc.ac.cn ","作为所内开放使用仪器，按2元/分钟收费测试"]
["付里叶变换红外光谱仪","Nicolet AV-330","所：分析测试中心光谱组","郑波:021-54925384，zhengb@mail.sioc.ac.cn","成分定性，具体面仪"]
["高效液相色谱仪(HPLC)","LC200","所：分析测试中心色谱组","岳志荣:021-54925101 sakyuayue@163.com","用于各种有机化合物的定量测定，面积归一化法120元/样"]
["气相色谱仪(GC)","Aglient6890N(G1540N)","所：分析测试中心色谱组","雷晓玲:021-54925319 nancy@mail.sioc.ac.cn","用于各种有机化合物的定量测定，面积归一化法30元/样，手性拆分50元/样"]
["离子色谱仪(HPIC)","Dionex500","所：分析测试中心色谱组","罗忠富:021-54925103 luozf@mail.sioc.ac.cn","用于各种阴离子的分析定量和有机酸分析测定，样品50/离子"]
["高效液相色谱仪（HPLC）","Waters515Pump+Waters2487 DaulλAbsorbance Detector ","所：分析测试中心色谱组","万晓龙:021-54915101 wanxiaolong1983@163.com","用于各种有机化合物的定量测定，面积归一化法120元/样"]
["高效液相色谱仪（HPLC）","Waters515Pump+Waters2487 DaulλAbsorbance Detector ","所：分析测试中心色谱组","万晓龙:021-54915101 wanxiaolong1983@163.com","用于各种有机化合物的定量测定，面积归一化法120元/样"]
["高效液相色谱仪(HPLC)","Series 200 泵+785A紫外可见光检测器","所：分析测试中心色谱组","李晓鸽:021-54925101 leexiaoge@hotmail.com","用于各种有机化合物的定量测定，面积归一化法120元/样"]
["高效液相色谱仪（HPLC）","Waters600Pump+Waters2487 DaulλAbsorbance Detector ","所：分析测试中心色谱组","李晓鸽:021-54925101 leexiaoge@hotmail.com","用于各种有机化合物的定量测定，面积归一化法120元/样"]
["气相色谱仪(GC)","Aglient6890Plus+(G1540A)","所：分析测试中心色谱组","雷晓玲:021-54925319 nancy@mail.sioc.ac.cn","用于各种有机化合物的定量测定，面积归一化法30元/样，手性拆分50元/样"]
["压力差示扫描量热仪(PDSC)","Q10P","所：分析测试中心材料测试组","黄晋:021-54925388，huangjin@mail.sioc.ac.cn","需要提供测试项目（要得到样品的何种信息）、测试升降温程序、样品的分解情况、是否易吸水或潮解、毒性、挥发性等信息。"]
["热重分析仪(TGA)","Q500","所：分析测试中心材料测试组","黄晋:021-54925388，huangjin@mail.sioc.ac.cn","需要提供测试项目（要得到样品的何种信息）、测试升降温程序、样品的分解情况、是否易吸水或潮解、毒性、挥发性等信息。"]
["动态热机械分析仪（DMA）","Q800","所：分析测试中心材料测试组","黄晋:021-54925388，huangjin@mail.sioc.ac.cn","需提供测试的项目（要得到样品何种信息）、测试升降温程序、样品的分解情况、选择的测试模式等信息。"]
["万能材料试验机","INSTRON5867","所：分析测试中心材料测试组","黄晋:021-54925388，huangjin@mail.sioc.ac.cn","需提供测试模式、要得到的何种数据结果（如拉伸模量)等。"]
["凝胶渗透色谱（GPC）","WATERS515","所：分析测试中心材料测试组","黄晋:021-54925388，huangjin@mail.sioc.ac.cn","需提供样品溶解性、是否需要加热或超声助溶、是否需要加脱吸附剂等信息。"]
["扫描电子显微镜","JSM-6390LV","所：分析测试中心材料测试组","赵巧玲:021-54925388，zhaoqiaoling@mail.sioc.ac.cn","测试时间从样品进入电镜舱室抽真空开始计算（潮、多孔样品请事先干燥脱气处理），至最后一张照片保存完毕结束。需提供样品是否易吸水或潮解、毒性、挥发性等信息"]
["粉末X射线衍射仪","X'Pert Pro","所：分析测试中心材料测试组","赵巧玲:021-54925388，zhaoqiaoling@mail.sioc.ac.cn","需要提供粉末或薄膜样品，样品需事先干燥，注明样品是否易吸潮、分解等信息。"]
["扫描探针显微镜","NanoScope IVa MultiMode","所：分析测试中心材料测试组","赵巧玲:021-54925388，zhaoqiaoling@mail.sioc.ac.cn","需要预先制样、干燥处理，表面要平整，尺寸小于1.5cm*1.5cm。"]
["热台偏光显微镜","BX51P","所：分析测试中心材料测试组","赵巧玲:021-54925388，zhaoqiaoling@mail.sioc.ac.cn","粉末、薄膜或液态样品；固体样品需要干燥处理。"]
["转矩流变仪系统","Haake Polylab OS","所：分析测试中心材料测试组","陈健壮:021-54925394，chenjianzhuang1982@163.com","要根据具体加工的材料进行干燥；加工温度要根据料的塑化温度（熔点）设定程序；料的分解情况，是否易吸水或潮解；毒性；挥发性等"]
["熔体流动速率测定仪","ZXNR-400B","所：分析测试中心材料测试组","陈健壮:021-54925394，chenjianzhuang1982@163.com","要根据具体测试的材料进行干燥；测试温度要在熔点以上；料的分解情况，是否易吸水或潮解；毒性；挥发性等"]
["X射线单晶衍射仪","SMART APEX","室:金属有机国家重点实验室","朱沪平:021-54925351，zhuhp@mail.sioc.ac.cn","主要用于小分子晶体结构测定"]